LIST OF CONTENTS

Project at a Glance

Executive Summary

Abstract of cost Estimates

Detailed Engineering Report :

- Introduction

- Existing Water Supply Facilities

- Project proposals

- Implementation Arrangements

- Operation and Maintenance

Annexure		 1.	Design calculations

2.	Cost Estimates

3.	O&M Estimates

4.	Drawings.

i) Schematic Diagram

ii)Project Area map with Transmission main alignments

PROJECT AT A GLANCE

1.  Name of the Scheme	:  Comprehensive  water supply         Scheme to xxxxxxx    Municipality

2. Wards benefited				:  All  1111 wards

2.  Population as per 2001 census.		:  111111 and floating 									population of 1111 + 11111 								(population of nearby yyyyyy 							GP accounted only  for the 								Plant capacity and Pumping 								main)

3.  Projected population 2015		:  11111

4.  Intermediate population 2030		:  22222

5.  Design population in 2045 (Total)	:  33333

Ultimate Urban Population		: 44444

6.  Intermediate water demand		:  11111 MLD

7.  Ultimate water demand in 2045	:  222222 MLD

Ultimate Demand for Urban LSG	: 1111.11 MLD

8.  Water available from existing system	: 0. MLD (Since, the old 22222 MLD plant has to be demolished to accommodate the new setup since no other space available)

9.  Source						:  zzzzzzz  zzzz at 										xxxxxx.

10.Intake well and pump house		: New well to be constructed 	since, the Existing well is not 	suitable for providing VT 	pumpsets

11.Capacity of the treatment plant	:  22222 MLD at the existing plant 							site at aaaaa aaaaa

12.Raw water pumping main			: 700 mm DI/MS pipe for 1111m

13.Raw water pump set			: 450 HP 2Nos; 1 Stand by

14.Capacity of clear water sump		: 11111 Lakh Litres.

15.Clear water Pumping main		: 555 ,333&222mm DI pipe 							for 66666m,66666m & 6666m.

16.Clear water pump set			:  222 Hp  2 Nos; 1 stand by

222 HP 4 nos 2 stand bye

222 HP 2 nos 1 stand bye

19.Proposed Service Reservoirs		:  1) New OHSR xxxxx town 								1111.0 L L at 	WTP site

2) New OHSR at zzzzzzz  								111111.111 L L at 	zzzzzzz

3) New OHSR at 										zzzzzzz 222222222.22 L L

4) New OHSR at zzzzzz 								11111.0  LL near SWTP

20.Providing new/ Strengthening of

distribution system	:  55555-22222mm DI & 555 mm PVC-									111111 Km

21.Project implementation period		:  2012-2015

22.Project cost					: Rs. 1111111111111 lakhs.

23.Percapita cost in the design yr. 2045	:  Rs.111111/-

24. Annual O&M cost				: Rs. 111111 Lakhs

25. Production cost /KL			: Rs.1111.11/KL